## Slide 1: Diabetes Management

## Slide 2: Continuous Glucose Monitoring
Better Management
Optimizing the insulin dosage
Creating Exercise plans
Creating Dietary plans
Optimizing medications
Monitoring abnormalities in real time

## Slide 3: What is a CGM? (Continuous Glucose Monitor)
A device that provides “real-time” glucose readings and data about trends in glucose levels
Reads the glucose levels under the skin every 1-5 minutes (10-15 minute delay)
Provides alarms for high and low glucose levels and trend information
The 3rd era in diabetes management

## Slide 4: Who Should Use a CGM?
The person and the family(caretakers) might both want a CGM
A youth must be willing to wear the sensor (and carry the receiver)
Using good diabetes care
Good support system
Adequate body “real estate”
Cost of CGM

## Slide 5
Continuous Glucose Monitoring (CGM) WHY?
Prevention of low blood sugars (alarms)
Prevention of high blood sugars Minimize wide glucose fluctuations
Behavior Modification
Prevention of Complications

## Slide 6: How common are glucose levels <60mg/dl during the night in children with T1D?
  French (i) and Australian (ii) data showed approximately 50% of children with low BG (<60mg/dl) during the night (on NPH bid)
  DirecNet data (one night in hospital with blood sugars every 30 min.)
      A) 2001-2002: 39 of 91 (43%) low BG
      (44% of children on insulin pumps/56% on NPH)
      B) 2004: 14 of 50 (28%) with low BG
      (all on insulin pumps or Lantus)
Beregszaszi M, et al. J Pediatr. 131, 27, 1997
Porter PA, et al. J. Pediatr. 13, 366, 1997

## Slide 7
Continuous Glucose Monitoring (CGM) WHY?
Prevention of low blood sugars (alarms)
Prevention of high blood sugars
Minimize wide glucose fluctuations
Behavior Modification
Prevention of Complications

## Slide 8
“Snapshot of BG levels”

## Slide 9
Continuous Glucose Monitoring

## Slide 10
Hyperglycemia is common, especially after meals
0%
10%
20%
30%
40%
50%
< 180
181 - 240
241 - 300
> 300
Breakfast
Lunch
Dinner
Boland et al, Diabetes Care 24:1858, 2001

## Slide 11
Continuous Glucose Monitoring (CGM) WHY?
Prevention of low blood sugars (alarms)
Prevention of high blood sugars
Minimize wide glucose fluctuations
Behavior Modification
Prevention of Complications

## Slide 12: Three Parts to All CGMs:
Sensor
Transmitter
Receiver/Monitor

## Slide 13
Sensor

## Slide 14
B)Transmitter

## Slide 15
C)Receiver or Monitor

## Slide 16: What does “Calibration” mean and why do I need to do it?
Calibration is a process that gives a fingerstick BG value to the CGM system so the values will align with each other
Number of Calibrations vary by device
Best times to calibrate are when the BG values are stable: before meals and before bed
Do not calibrate when arrows are present

## Slide 17
What type of data will we get?
“Real-time” (Immediate)
  i. Trend graphs
    ii. Alarms
    iii. Trend arrows

## Slide 18
Trend graphs – Knowing a glucose level is 240 mg/dl may not be as important as knowing the “trend.”
i) TREND GRAPHS

## Slide 19
ii) ALARMS Can warn patients of current or projected high and low blood sugar
Projected alarms: 10, 20, or 30 minute warning of impending hypo- or hyperglycemia (Navigator and Guardian devices)
Threshold alarms: warning when glucose is below or above a set value (all devices)

## Slide 20
iii) TREND ARROWS Rate of Change Arrows
Gives the up-to-the-minute glucose value and a rate of change arrow
Glucose going down
-1 to -2 (mg/dL)/min
Glucose going up
1 to 2 (mg/dL)/min
Glucose falling quickly
>-2 (mg/dL)/min
Fairly stable glucose
-1 to 1 (mg/dL)/min
Glucose rising quickly
>2 (mg/dL)/min
Barbara Davis Center for Childhood Diabetes May 2008

## Slide 21: Second type of data: [for analysis] (Retrospective, must download)
2) Retrospective
  Modal Day Graphs
  Pie Chart
  Statistics

## Slide 22
CLOSED LOOP (BIONIC) PANCREAS
“The Future”
Will probably come in parts
JDRF supporting algorithm development
Should reduce glucose highs, lows, and fluctuations
Will probably be more realistic than islet cell transplant
FDA and medical insurance approvals (as with CGM) will be critical

## Slide 24
Q. Why combine insulin pumps (CSII) and Continuous Glucose Monitors (CGM)?
A: “They complement each other tremendously and provide the most ‘state of the art’ diabetes care available.”
The CGM helps with:
  Cannulas dislodging
  Missed food boluses
  Hypoglycemia
  Corrections

## Slide 25: Some Widely used CGMS Systems

## Slide 26
Notes: Free style navigator by Abott

## Slide 30
Notes: Patch Applicator

## Slide 33: Concepts for Continuous Delivery

## Slide 35: What about kids suffering from diabetes?
The explained procedures are
Messy
Risky(due to needles and invasiveness)
Can be lethal if not managed properly
Notes: http://diabeteskit.melchiorvanvoorden.nl/

## Slide 51
Enthusiastic about exploring new healthcare and medical technologies?
Drop a mail on:
NanoBios Lab
Lab# - 505
5th Floor New BSBE,
Behind New LHC
IIT Bombay.
Tel.022-25767746 / 71
nanobios.iitb@gmail.com
Or visit us at:
Notes: We do a lot of constructive brainstorming and prototyping at Nanobios Lab in terms of devices, processes and other technological areas relevant to biology.
To get a gist of what we do and what are we working upon you can drop us a mail or visit our lab after informing in advance.